{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["竞价采购"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"竞价采购","index":0,"n_rows":19,"n_cols":8,"rows_kept":19,"merged":[[0,0,0,7],[2,0,18,0],[2,1,18,1]],"flags":["formulas_cached_only"]}
["靖煤（白银）热电有限公司2026年2月份检修物资采购项目三标段（竞价采购）明细表"]
["序号","标段","物料名称","规格型号","单位","数量","备注","供货期限"]
[1,"三标段","端面电阻","型号：GLWZPM2-001,Pt100,L=6*25*5000mm   要求必须质量好精度高","支",40,"#2机组A修物资 原设备厂：重庆川仪","40天"]
[null,null,"特种高温镜头","型号：GS-JT3 合肥金星机电","个",1,"#1机组C修物资 原设备厂：合肥金星","40天"]
[null,null,"CCD彩色摄像机","型号：LCZ2850-DP 合肥金星机电","台",1,"#1机组C修物资 原设备厂：合肥金星","40天"]
[null,null,"摄像探头保护筒","型号：GS-FH-Q86 合肥金星机电","个",1,"#1机组C修物资 原设备厂：合肥金星","40天"]
[null,null,"四管泄露智能数显传感器","型号：NS37-Z  带延长管","台",4,"#1机组C修物资 原设备厂：南京擎能","40天"]
[null,null,"给煤机速度传感器","型号：DT100-ST1","个",5,"#2机组A修物资","40天"]
[null,null,"电耳料位探头","sankyo MOLEL:SLD-01","台",2,"#2机组A修物资","40天"]
[null,null,"点火枪","EHE-20-B-1-18H-MPP56.L=3500 硬枪 口径φ18 普通","根",1,"#1机组C修物资","40天"]
[null,null,"氧化锆","型号：ROYTEC210-211XY","台",1,"#2机组A修物资","40天"]
[null,null,"拉伸式不锈钢扁管","YCCH 09.1.06","根",10,"#2机组A修物资 原设备厂：江苏指南润滑液压科技有限公司","40天"]
[null,null,"一体化探针保护套（下）","YCCH 09.1.05","个",10,"#2机组A修物资 原设备厂：江苏指南润滑液压科技有限公司","40天"]
[null,null,"电磁阀","SMC SY9220-4DZD-03","个",2,"#1机组C修物资","40天"]
[null,null,"电磁流量计","GLLUD-AC12S-DN80，耐腐蚀，二线制","个",1,"#1机组C修物资 原设备厂：上海甘澜","40天"]
[null,null,"铠装热电阻","型号：GLWZPK-631 Pt100  L=400*250mm  M33*2连接 保护管锥形（25/22）要求为高耐磨材质","支",10,"#1机C修、#2机A修物资","40天"]
[null,null,"热电偶","型号：耐磨热电偶：GLWRNM2-431，K型，L=1280*1130mm，保护管直径28，耐磨头长度500mm，一级，DN50法兰连接","支",10,"#1机C修、#2机A修物资","40天"]
[null,null,"热电阻","型号：防硫腐热电阻：GLSBWZPK2-431F  Pt100 L=1280*1130mm，保护管直径28，材质316+PTEF，DN50法兰连接","支",5,"#1机C修、#2机A修物资","40天"]
[null,null,"渣仓雷达料位计","型号：RBRD73-YQMF5PLMAY","台",1,"#1机组C修备品备件 原设备厂：北京精诚瑞博仪表有限公司","40天"]